AI Governance Gap Assessment

Preliminary AI Governance Gap Assessment

| Client | MediScript AI, Inc. |
| --- | --- |
| AI System | BoltNote Clinical Assistant |
| Frameworks | EU AI Act / ISO 42001 / HIPAA / NIST AI RMF / ISO 27001 / SOC 2 / GDPR / US State AI and Privacy Regulations / AIHCS |
| Assessment Date | April 16, 2026 |
| Assessor | Hart AI Governance |

1. EXECUTIVE SUMMARY

1.1 PURPOSE AND SCOPE

This gap assessment provides MediScript AI, Inc. with a comprehensive analysis of BoltNote Clinical Assistant against EU AI Act / ISO 42001 / HIPAA / NIST AI RMF / ISO 27001 / SOC 2 / GDPR / US State AI and Privacy Regulations / AIHCS. The assessment identifies compliance gaps, prioritizes remediation activities, and presents a strategic roadmap for achieving compliance.

1.2 REGULATORY CONTEXT

MediScript AI's BoltNote Clinical Assistant operates in a complex regulatory landscape with multiple overlapping compliance requirements. The system's processing of protected health information (PHI) for approximately 200 licensed clinicians across California and Colorado triggers HIPAA compliance obligations under 45 CFR 164, requiring comprehensive safeguards for electronic PHI and appropriate Business Associate Agreements. The AI-powered clinical documentation functionality constitutes high-risk AI system deployment under the EU AI Act, specifically triggering Article 9 risk management requirements, Article 10 data governance obligations, and Article 17 human oversight mandates for medical AI systems, with penalties reaching €35 million or 7% of global turnover for violations.

        California operations subject the organization to CCPA/CPRA automated decision-making requirements under Civil Code §1798.185, with upcoming Automated Decision-Making Technology regulations effective January 1, 2027, requiring comprehensive consumer opt-out rights and data protection assessments. Additionally, California Civil Code §1714.46, effective January 1, 2026, eliminates AI autonomy as a legal defense, fundamentally altering liability exposure for AI-generated clinical documentation errors. Colorado operations fall under SB24-205 (Colorado AI Act), effective June 30, 2026, which classifies healthcare AI systems as high-risk and mandates impact assessments, risk management programs, and consumer transparency with penalties up to $20,000 per violation.

        The technical architecture involving ASR APIs and large language models for clinical note generation triggers ISO 42001 AI management system requirements, ISO 27001 information security obligations, and SOC 2 Trust Service Criteria for systems processing sensitive healthcare data. The NIST AI Risk Management Framework applies as best practice for federal contractor eligibility and enterprise risk management. Healthcare-specific considerations include potential medical device regulations if the system influences clinical decision-making, state health department notification requirements, and professional liability exposure for AI-assisted clinical documentation errors.

        The convergent effect of these frameworks creates a comprehensive compliance matrix where violations in one area (such as inadequate human oversight) cascade across multiple regulatory domains, potentially triggering simultaneous HIPAA penalties, EU AI Act fines, state-level violations, and civil liability under evolving AI liability statutes. The organization faces immediate regulatory exposure in jurisdictions where AI regulations are already enforceable, with additional compliance deadlines approaching in 2026 and 2027.

1.3 CURRENT STATE SUMMARY

MediScript AI presents a complete absence of AI governance infrastructure across all assessed domains, representing one of the most comprehensive compliance gaps observed in healthcare AI deployments. The organization lacks fundamental governance structures including board-level AI oversight, executive accountability frameworks, risk management systems, and documented policies for AI system operation. Client responses consistently indicated 'Not currently implemented. No documentation exists' across 40 detailed assessment questions spanning governance, risk management, human oversight, data protection, security controls, and operational procedures.

        The severity distribution reveals critical systemic failures with 5 Critical gaps, 7 High-priority gaps, 9 Medium-priority gaps, and 1 Low-priority gap across 22 total findings. Critical gaps encompass the foundational requirements for AI governance (GAP-001), risk management (GAP-002), human oversight (GAP-003), data governance (GAP-004), and EU AI Act Article 5 prohibited practices assessment (GAP-005). These critical deficiencies create immediate regulatory violation exposure under currently enforceable provisions of the EU AI Act, HIPAA requirements for PHI processing safeguards, and state privacy law obligations.

        High-priority gaps center on privacy compliance failures including HIPAA Business Associate Agreement deficiencies for AI processing (GAP-006), California CCPA/CPRA automated decision-making violations (GAP-007), and Colorado AI Act preparation requirements (GAP-008). Additional high-severity gaps encompass AI system documentation (GAP-009), information security management (GAP-010), and incident response capabilities (GAP-011). The organization operates without technical documentation, security controls, performance monitoring, or incident response procedures specifically designed for AI system risks.

        Medium and low-priority gaps address operational excellence and advanced compliance requirements including training programs, quality management, vendor oversight, business continuity planning, and transparency frameworks. While individually less severe, these gaps collectively demonstrate a complete absence of AI system lifecycle management and operational maturity. The cumulative effect positions MediScript AI at maximum regulatory exposure across multiple jurisdictions with enforcement capabilities, creating substantial financial, operational, and reputational risks requiring immediate comprehensive remediation.

| Severity | Count | Description |
| --- | --- | --- |
| Critical | 5 | Immediate remediation required |
| High | 7 | Address within 30 days |
| Medium | 9 | Address within 90 days |
| Low | 1 | Address within 180 days |

1.4 CRITICAL FINDINGS OVERVIEW

The following critical gaps require immediate remediation:

• GAP-001: MediScript AI operates BoltNote Clinical Assistant without any governance structure. This creates immediate regulatory exposure under EU AI Act which requires human oversight for medical AI systems, potential HIPAA violations for PHI processing without governance controls, and fundamental non-compliance with ISO 42001 requirements for AI management systems.

• GAP-002: Operating medical AI systems processing PHI without risk assessment violates multiple frameworks. EU AI Act mandates continuous risk management for medical AI. HIPAA requires risk analysis for systems handling ePHI. ISO 42001 mandates AI risk management as core requirement.

• GAP-003: Medical AI systems require robust human oversight to ensure clinical accuracy and patient safety. Without documented oversight procedures, there's regulatory exposure under EU AI Act, potential medical malpractice liability, and AIHCS non-compliance for human-AI interaction governance.

• GAP-004: Medical AI systems require rigorous data governance to ensure clinical accuracy and regulatory compliance. Lack of data quality controls creates patient safety risks, GDPR violations for PHI processing, and non-compliance with EU AI Act data governance requirements.

• GAP-005: Article 5 violations carry the highest penalties under EU AI Act and are currently enforceable. Medical transcription systems could inadvertently perform prohibited emotion recognition or biometric categorization. Immediate assessment required to avoid regulatory exposure.

1.5 RECOMMENDATION

MediScript AI faces critical regulatory exposure across multiple jurisdictions due to the complete absence of AI governance infrastructure for BoltNote Clinical Assistant. The organization currently violates enforceable provisions of the EU AI Act (penalties up to €35 million), HIPAA PHI processing requirements (civil and criminal penalties), and state privacy laws in California and Colorado. With Colorado AI Act enforcement beginning June 30, 2026, and California's enhanced AI liability framework effective January 1, 2026, the window for compliance is rapidly closing. The assessment identified 22 compliance gaps including 5 critical violations that create immediate regulatory, financial, and operational risks.

        Immediate action is required to establish foundational AI governance, conduct prohibited practices assessments under EU AI Act Article 5, implement human oversight procedures for clinical AI, and address HIPAA Business Associate Agreement deficiencies. The estimated cost of non-compliance significantly exceeds remediation investments, with potential regulatory fines, civil liability exposure, operational disruption to 200+ clinicians, and reputational damage to healthcare facility partnerships. A phased 12-week remediation program utilizing HAIG framework templates can achieve baseline compliance and position the organization for sustainable AI governance maturity while maintaining clinical operations.

2. GAP ASSESSMENT MATRIX

The following matrix details all identified gaps organized by compliance domain.

2.1 AI GOVERNANCE

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-001 | AI governance framework required under EU AI Act Art. 17 (human oversight), Art. 9 (risk management), ISO 42001 clause 5.1 (leadership), and NIST AI RMF GOVERN function | No AI governance framework exists. Client responses indicate 'Not currently implemented. No documentation exists' for all governance questions including board oversight, executive accountability, and AI governance policies. | Critical | Implement comprehensive AI governance charter; establish AI oversight committee with board representation; designate Chief AI Officer role; create accountability framework |

2.2 RISK MANAGEMENT

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-002 | Risk management system required under EU AI Act Art. 9, ISO 42001 clause 6.1, NIST AI RMF MAP function, and HIPAA 45 CFR 164.308(a)(1)(ii)(A) | No risk assessment documentation exists. Client indicated 'Not currently implemented. No documentation exists' for risk management procedures, AI-related incidents tracking, and risk evaluation processes. | Critical | Conduct comprehensive AI risk assessment using HAIG templates; establish ongoing risk monitoring; implement risk treatment plans; document risk management system |

2.3 HUMAN OVERSIGHT

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-003 | Human oversight required under EU AI Act Art. 17 for high-risk AI systems, AIHCS Control GC-01, and medical device regulations for clinical decision support | While client states clinicians review AI outputs before final documentation, no formal human oversight procedures, training requirements, or quality assurance processes are documented. No evidence of systematic oversight framework. | Critical | Establish formal human oversight procedures; define review protocols for AI-generated clinical content; implement competency requirements for clinical users; create override and escalation procedures |

2.4 DATA GOVERNANCE

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-004 | Data governance required under EU AI Act Art. 10, ISO 42001 clause 7.5, GDPR Art. 5 (data quality), and HIPAA minimum necessary standard | No data governance framework exists. Client responses indicate no documentation for data retention periods, data quality procedures, bias assessment, or data lineage tracking for AI training and inference data. | Critical | Implement comprehensive data governance framework; establish data quality monitoring; create data lineage documentation; define retention and deletion policies |

2.5 EU AI ACT COMPLIANCE

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-005 | Assessment against prohibited practices required under EU AI Act Art. 5, in force since February 2, 2025, with penalties up to €35 million or 7% global turnover | No assessment conducted against Article 5 prohibited practices. Unknown if clinical transcription system performs emotion recognition, biometric analysis, or other prohibited activities during patient encounters. | Critical | Conduct immediate Article 5 prohibited practices assessment; document compliance rationale; implement ongoing monitoring for prohibited practices; establish legal review process |

2.6 PRIVACY COMPLIANCE

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-006 | HIPAA-compliant BAAs required under 45 CFR 164.502(e) and 164.504(e) covering AI-specific risks and third-party AI vendors | Client indicates BAAs are signed but no information provided on whether they address AI-specific processing risks, training restrictions, or third-party AI vendor arrangements. Generic BAAs insufficient for AI processing. | High | Review and update BAAs to address AI processing; include AI training restrictions; add third-party AI vendor requirements; implement AI-specific incident notification procedures |

2.7 STATE COMPLIANCE

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-007 | CCPA/CPRA automated decision-making opt-out rights required under Cal. Civ. Code §1798.185 for healthcare decisions, effective now with ADMT regulations January 1, 2027 | No evidence of CCPA/CPRA compliance for automated decision-making. Privacy policy likely lacks required AI processing disclosures and opt-out mechanisms for California patients using the system. | High | Update privacy notices for AI processing; implement ADMT opt-out mechanisms; conduct data protection assessments; prepare for Jan 2027 ADMT regulations |
| GAP-008 | Colorado AI Act (SB24-205) effective June 30, 2026 requires impact assessments and risk management for high-risk AI systems in healthcare | No preparation for Colorado AI Act compliance. System likely qualifies as high-risk AI for healthcare decisions requiring comprehensive compliance framework by June 30, 2026. | High | Conduct Colorado AI Act readiness assessment; implement risk management program; prepare impact assessments; establish consumer transparency procedures |

2.8 AI SYSTEM DOCUMENTATION

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-009 | Technical documentation required under EU AI Act Art. 11, ISO 42001 clause 7.5.3, and NIST AI RMF MAP-1.1 for system transparency and auditability | No AI system documentation exists. Client responses indicate no model cards, system specifications, performance benchmarks, or technical documentation for ASR or clinical note generation components. | High | Create comprehensive AI system documentation; develop model cards for AI components; document system architecture and data flows; establish documentation maintenance procedures |

2.9 INFORMATION SECURITY

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-010 | Information security management system required under ISO 27001, SOC 2 Security criteria, HIPAA Security Rule 45 CFR 164.308, and NIST CSF framework | No documentation of security controls, policies, or procedures. Client responses indicate no penetration testing, security assessments, cyber insurance coverage, or established security governance for AI systems. | High | Implement comprehensive ISMS with AI considerations; establish security governance; conduct security assessments; implement AI-specific security controls |

2.10 INCIDENT MANAGEMENT

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-011 | Incident response procedures required under EU AI Act Art. 73, ISO 42001 clause 8.5, HIPAA 45 CFR 164.308(a)(6), and ISO 27001 A.16 | No incident response procedures exist. Client indicated no AI-related incidents have occurred, but this likely reflects lack of monitoring rather than absence of incidents. No process for detecting or responding to AI failures. | High | Develop AI-specific incident response plan; establish detection and monitoring procedures; define escalation and notification requirements; implement incident tracking and analysis |

2.11 TRAINING AND COMPETENCY

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-012 | AI literacy training required under EU AI Act Art. 4, ISO 42001 clause 7.2, and NIST AI RMF GOVERN-1.4 for all personnel interacting with AI systems | No AI literacy training program exists. Client responses indicate no documented training policies, competency requirements, or training effectiveness evaluation for clinical staff using AI systems. | Medium | Develop role-based AI literacy training program; establish competency requirements for clinical staff; implement training effectiveness measurement; create ongoing education framework |

2.12 QUALITY MANAGEMENT

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-013 | Quality management system required under ISO 9001, ISO 42001 clause 8.1, and healthcare quality standards for clinical support systems | No quality management documentation exists. Client responses indicate no performance metrics monitoring, quality thresholds, validation procedures, or continuous improvement processes for AI systems. | Medium | Implement QMS for AI operations; establish performance monitoring; define quality objectives and metrics; create continuous improvement processes |

2.13 VENDOR MANAGEMENT

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-014 | Third-party risk management required under SOC 2 CC9.1, ISO 27001 A.15, HIPAA 45 CFR 164.308(b)(1), and NIST AI RMF GOVERN-2.1 | No information about AI vendor relationships, due diligence procedures, or third-party risk management. Client responses indicate no documentation of vendor management policies or AI-specific vendor assessments. | Medium | Conduct AI vendor due diligence assessment; implement vendor risk management program; establish ongoing monitoring procedures; document vendor AI governance requirements |

2.14 BUSINESS CONTINUITY

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-015 | Business continuity planning required under ISO 27001 A.17, SOC 2 A1.3, and healthcare operational resilience standards for clinical systems | No business continuity plans documented. Client responses indicate no procedures for AI system unavailability during clinical operations or alternative workflows when AI systems fail. | Medium | Develop AI-specific business continuity plans; define recovery procedures and alternative workflows; establish RTO/RPO objectives; conduct regular testing and exercises |

2.15 DATA PROTECTION

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-016 | GDPR Data Protection Impact Assessment required under Art. 35 for high-risk processing including automated decision-making affecting healthcare | No DPIA conducted for AI processing activities. Client responses indicate no privacy impact assessments or data protection risk evaluations for AI systems processing PHI. | Medium | Conduct comprehensive DPIA for AI processing; assess necessity and proportionality; implement additional safeguards; establish ongoing privacy monitoring |

2.16 PERFORMANCE MONITORING

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-017 | Performance monitoring required under EU AI Act Art. 61, ISO 42001 clause 9.1, NIST AI RMF MEASURE function, and healthcare quality standards | No performance monitoring systems documented. Client responses indicate no accuracy metrics tracking, quality thresholds monitoring, or AI performance validation procedures. | Medium | Implement AI performance monitoring system; establish accuracy and quality metrics; create drift detection and alerting; define performance thresholds and response procedures |

2.17 BIAS AND FAIRNESS

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-018 | Bias assessment required under EU AI Act Art. 10 (data governance), NIST AI RMF MEASURE-2.4, and Colorado AI Act algorithmic discrimination provisions | No bias assessment procedures documented. Client responses indicate no fairness evaluation, demographic analysis, or algorithmic discrimination testing for AI-generated clinical documentation. | Medium | Conduct comprehensive bias assessment; implement demographic fairness testing; establish ongoing bias monitoring; create bias mitigation procedures |

2.18 CHANGE MANAGEMENT

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-019 | Change management required under ISO 42001 clause 8.1, ISO 9001 clause 8.5.6, and NIST AI RMF MANAGE function for AI system modifications | No change management procedures documented. Client responses indicate no process for updating or retraining AI models, validation after changes, or change control procedures. | Medium | Implement AI system change management process; establish impact assessment procedures; define testing and validation requirements; create rollback and recovery procedures |

2.19 LEGAL AND LIABILITY

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-020 | Legal compliance required under California Civil Code §1714.46 (effective January 1, 2026) removing AI autonomy as legal defense | No legal review conducted for California AI liability law changes. Client responses indicate no legal review process for contracts or terms of service addressing AI system risks and liability allocation. | Medium | Conduct legal review of AI liability exposure; update terms of service and customer contracts; review insurance coverage for AI risks; establish liability allocation framework |

2.20 TRANSPARENCY

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-021 | Transparency requirements under EU AI Act Art. 13, California AB 3030 (Healthcare AI), Colorado AI Act consumer disclosure, and NIST AI RMF GOVERN-4.1 | No transparency framework documented. Unknown if patients or healthcare facilities are informed about AI use in clinical documentation or provided with information about system limitations and human oversight. | Low | Develop AI transparency framework; create patient and provider disclosure notices; implement clear communication about AI limitations; establish procedures for explaining AI decisions |

2.21 AIHCS CONTROL IMPLEMENTATION

| Gap ID | Requirement | Current State | Severity | Remediation |
| --- | --- | --- | --- | --- |
| GAP-022 | Human-AI interaction governance required under AIHCS framework including all 10 governance controls (GC-01 through GC-10) | None of the 10 AIHCS governance controls are implemented. No AI usage policy, human oversight procedures, competency frameworks, or dependency measurement systems exist. | Low | Implement AIHCS governance controls framework; establish human-AI interaction policies; create competency assessment programs; implement dependency and judgment erosion monitoring |

3. REMEDIATION ROADMAP

3.1 PRIORITIZATION APPROACH

Remediation activities are prioritized based on regulatory risk, implementation complexity, and business impact. Critical items are addressed first, followed by high severity items that can be parallelized.

3.2 PHASE 1: IMMEDIATE ACTIONS (WEEKS 1-2)

• AI Governance Charter (AI Governance/HAIG AI Governance Charter.docx)

• EU AI Act Article 5 Prohibited Practices Assessment (HAIG EU AI Act Risk Assessment Checklist and Template.docx)

• AI Risk Assessment and Risk Register (HAIG AI Risk Assessment Template.docx)

• Human Oversight Procedures for Clinical AI (AI Governance/HAIG Human Oversight Procedure.docx)

• AI-Enhanced HIPAA Business Associate Agreements (Sector Specific/Healthcare/HAIG HIPAA BAA Template.docx)

• AI Incident Response Plan (AI Governance/HAIG AI Incident Response Plan.docx)

• Data Governance Framework with AI Considerations (Data Management/HAIG Training Data Quality Checklist.docx)

3.3 PHASE 2: SHORT-TERM REMEDIATION (WEEKS 3-6)

• AI System Documentation and Model Cards (Automated Tools/HAIG AI Model Card Builder Automated.xlsx)

• Information Security Management System with AI Controls (Information Security/HAIG ISMS Policy with AI Considerations.docx)

• California CCPA/CPRA AI Privacy Disclosures (Privacy Data Protection/HAIG CCPA Privacy Disclosure Template.docx)

• Colorado AI Act Compliance Framework (Privacy Data Protection/HAIG Colorado AI Act Compliance Checklist.docx)

• AI Vendor Due Diligence Program (Vendor Third Party/HAIG AI Vendor Assessment.docx)

• AI Performance Monitoring System (AI Governance/HAIG AI Performance Monitoring Plan.docx)

• AI Literacy Training Program (AI Governance/HAIG AI Literacy Training Matrix.docx)

• GDPR Data Protection Impact Assessment for AI (Privacy Data Protection/HAIG GDPR DPIA Template.docx)

3.4 PHASE 3: MEDIUM-TERM REMEDIATION (WEEKS 7-12)

• AI Quality Management System (Quality Management/HAIG Quality Manual.docx)

• AI Bias Assessment and Monitoring Program (Automated Tools/HAIG AI Bias Assessment Template.xlsx)

• AI System Change Management Procedures (AI Governance/HAIG AI System Change Request Form.docx)

• Business Continuity Plan for AI Systems (Information Security/HAIG Business Continuity Disaster Recovery Plan.docx)

• AI Transparency and Disclosure Framework (AI Governance/HAIG AI Transparency Notice Template.docx)

• California AI Liability Legal Review (Sector Specific/Legal Contracts/HAIG AI Liability Assessment.docx)

• AIHCS Human-AI Interaction Controls (User TAIGA Metric_ GC01-10 (Governance Controls).docx)

• SOC 2 Readiness Assessment (Information Security/HAIG SOC 2 Readiness Checklist.docx)

• ISO 42001 Gap Assessment and Implementation Plan (Information Security/HAIG ISO 27001 Gap Assessment Workbook.docx)

3.5 TIMELINE SUMMARY

| Phase | Timeline | Key Deliverables | Dependencies |
| --- | --- | --- | --- |
| Phase 1 | Week 1-2 | AI Governance Charter (AI Governance/HAIG AI Governance Charter.docx), EU AI Act Article 5 Prohibited Practices Assessment (HAIG EU AI Act Risk Assessment Checklist and Template.docx), AI Risk Assessment and Risk Register (HAIG AI Risk Assessment Template.docx) | None |
| Phase 2 | Week 3-6 | AI System Documentation and Model Cards (Automated Tools/HAIG AI Model Card Builder Automated.xlsx), Information Security Management System with AI Controls (Information Security/HAIG ISMS Policy with AI Considerations.docx), California CCPA/CPRA AI Privacy Disclosures (Privacy Data Protection/HAIG CCPA Privacy Disclosure Template.docx) | Phase 1 completion |
| Phase 3 | Week 7-12 | AI Quality Management System (Quality Management/HAIG Quality Manual.docx), AI Bias Assessment and Monitoring Program (Automated Tools/HAIG AI Bias Assessment Template.xlsx), AI System Change Management Procedures (AI Governance/HAIG AI System Change Request Form.docx) | Phase 2 completion |

4. FRAMEWORK COMPLIANCE MAPPING

This section maps identified gaps to specific framework requirements.

4.1 EU AI ACT MAPPING

| Requirement | Article/Clause | Status | Gap Reference | Notes |
| --- | --- | --- | --- | --- |
| GAP-001 | Art. 17, Art. 9 | Gap | Complete Absence of AI Governance Framework | HAIG AI Governance Charter.docx |
| GAP-002 | Art. 9 | Gap | No AI Risk Assessment or Management System | HAIG AI Risk Assessment Template.docx |
| GAP-003 | Art. 17 | Gap | No Human Oversight Framework for Clinical AI | HAIG Human Oversight Procedure.docx |
| GAP-004 | Art. 10 | Gap | No AI Data Governance or Quality Framework | HAIG Training Data Quality Checklist.docx |
| GAP-005 | Art. 5 | Gap | EU AI Act Article 5 Prohibited Practices Assessment Missing | HAIG EU AI Act Risk Assessment Checklist and Template.docx |
| GAP-009 | Art. 11, Art. 12 | Gap | No AI System Documentation or Technical Specifications | HAIG AI Model Card Builder Automated.xlsx |
| GAP-011 | Art. 73 | Gap | No AI Incident Response Plan or Procedures | HAIG AI Incident Response Plan.docx |
| GAP-012 | Art. 4 | Gap | No AI Literacy Training Program | HAIG AI Literacy Training Matrix.docx |
| GAP-016 | Art. 27 | Gap | No GDPR Data Protection Impact Assessment for AI | HAIG GDPR DPIA Template.docx |
| GAP-17 | Art. 61 | Gap | No AI Performance Monitoring or Drift Detection | HAIG AI Performance Monitoring Plan.docx |
| GAP-018 | Art. 10 | Gap | No AI Bias Assessment or Fairness Evaluation | HAIG AI Bias Assessment Checklist.docx |
| GAP-021 | Art. 13 | Gap | No AI System Transparency or Disclosure Framework | HAIG AI Transparency Notice Template.docx |

4.2 ISO 42001 MAPPING

| Requirement | Article/Clause | Status | Gap Reference | Notes |
| --- | --- | --- | --- | --- |
| GAP-001 | 5.1, 5.2 | Gap | Complete Absence of AI Governance Framework | HAIG AI Governance Charter.docx |
| GAP-002 | 6.1, 8.2 | Gap | No AI Risk Assessment or Management System | HAIG AI Risk Assessment Template.docx |
| GAP-003 | 8.3 | Gap | No Human Oversight Framework for Clinical AI | HAIG Human Oversight Procedure.docx |
| GAP-004 | 7.5 | Gap | No AI Data Governance or Quality Framework | HAIG Training Data Quality Checklist.docx |
| GAP-009 | 7.5.3 | Gap | No AI System Documentation or Technical Specifications | HAIG AI Model Card Builder Automated.xlsx |
| GAP-011 | 8.5 | Gap | No AI Incident Response Plan or Procedures | HAIG AI Incident Response Plan.docx |
| GAP-012 | 7.2 | Gap | No AI Literacy Training Program | HAIG AI Literacy Training Matrix.docx |
| GAP-013 | 8.1, 10.1 | Gap | No Quality Management System for AI Operations | HAIG Quality Manual.docx |
| GAP-017 | 9.1 | Gap | No AI Performance Monitoring or Drift Detection | HAIG AI Performance Monitoring Plan.docx |
| GAP-019 | 8.1 | Gap | No AI System Change Management Process | HAIG AI System Change Request Form.docx |

4.3 HIPAA MAPPING

| Requirement | Article/Clause | Status | Gap Reference | Notes |
| --- | --- | --- | --- | --- |
| GAP-001 | 164.308(a)(1), 164.308(a)(2) | Gap | Complete Absence of AI Governance Framework | HAIG AI Governance Charter.docx |
| GAP-002 | 164.308(a)(1)(ii)(A) | Gap | No AI Risk Assessment or Management System | HAIG AI Risk Assessment Template.docx |
| GAP-004 | 164.502(b), 164.514 | Gap | No AI Data Governance or Quality Framework | HAIG Training Data Quality Checklist.docx |
| GAP-006 | 164.502(e), 164.504(e), 164.308(b)(1) | Gap | HIPAA Business Associate Agreement Gaps for AI Processing | HAIG HIPAA BAA Template.docx |
| GAP-010 | 164.308, 164.310, 164.312 | Gap | No Information Security Management System for AI | HAIG ISMS Policy with AI Considerations.docx |
| GAP-011 | 164.308(a)(6) | Gap | No AI Incident Response Plan or Procedures | HAIG AI Incident Response Plan.docx |
| GAP-014 | 164.308(b)(1) | Gap | No AI Vendor Due Diligence or Risk Assessment | HAIG AI Vendor Assessment.docx |

4.4 NIST AI RMF MAPPING

| Requirement | Article/Clause | Status | Gap Reference | Notes |
| --- | --- | --- | --- | --- |
| GAP-001 | GOVERN-1.1, GOVERN-1.2 | Gap | Complete Absence of AI Governance Framework | HAIG AI Governance Charter.docx |
| GAP-002 | MAP-2.1, MAP-3.1, MANAGE-2.1 | Gap | No AI Risk Assessment or Management System | HAIG AI Risk Assessment Template.docx |
| GAP-003 | GOVERN-1.3 | Gap | No Human Oversight Framework for Clinical AI | HAIG Human Oversight Procedure.docx |
| GAP-009 | MAP-1.1, GOVERN-4.1 | Gap | No AI System Documentation or Technical Specifications | HAIG AI Model Card Builder Automated.xlsx |
| GAP-012 | GOVERN-1.4 | Gap | No AI Literacy Training Program | HAIG AI Literacy Training Matrix.docx |
| GAP-014 | GOVERN-2.1 | Gap | No AI Vendor Due Diligence or Risk Assessment | HAIG AI Vendor Assessment.docx |
| GAP-015 | GOVERN-2.2 | Gap | No Business Continuity Plan for AI System Failures | HAIG Business Continuity Disaster Recovery Plan.docx |
| GAP-017 | MEASURE-2.1, MEASURE-2.3 | Gap | No AI Performance Monitoring or Drift Detection | HAIG AI Performance Monitoring Plan.docx |
| GAP-018 | MEASURE-2.4 | Gap | No AI Bias Assessment or Fairness Evaluation | HAIG AI Bias Assessment Checklist.docx |
| GAP-019 | MANAGE-3.1 | Gap | No AI System Change Management Process | HAIG AI System Change Request Form.docx |
| GAP-021 | GOVERN-4.1 | Gap | No AI System Transparency or Disclosure Framework | HAIG AI Transparency Notice Template.docx |

4.5 ISO 27001 MAPPING

| Requirement | Article/Clause | Status | Gap Reference | Notes |
| --- | --- | --- | --- | --- |
| GAP-010 | 4.1, 5.1, 6.1 | Gap | No Information Security Management System for AI | HAIG ISMS Policy with AI Considerations.docx |
| GAP-011 | A.16 | Gap | No AI Incident Response Plan or Procedures | HAIG AI Incident Response Plan.docx |
| GAP-014 | A.15 | Gap | No AI Vendor Due Diligence or Risk Assessment | HAIG AI Vendor Assessment.docx |
| GAP-015 | A.17 | Gap | No Business Continuity Plan for AI System Failures | HAIG Business Continuity Disaster Recovery Plan.docx |

4.6 SOC 2 MAPPING

| Requirement | Article/Clause | Status | Gap Reference | Notes |
| --- | --- | --- | --- | --- |
| GAP-010 | CC1.1, CC2.1, CC6.1 | Gap | No Information Security Management System for AI | HAIG ISMS Policy with AI Considerations.docx |
| GAP-014 | CC9.1 | Gap | No AI Vendor Due Diligence or Risk Assessment | HAIG AI Vendor Assessment.docx |
| GAP-015 | A1.3 | Gap | No Business Continuity Plan for AI System Failures | HAIG Business Continuity Disaster Recovery Plan.docx |

4.7 GDPR MAPPING

| Requirement | Article/Clause | Status | Gap Reference | Notes |
| --- | --- | --- | --- | --- |
| GAP-004 | Art. 5 | Gap | No AI Data Governance or Quality Framework | HAIG Training Data Quality Checklist.docx |
| GAP-016 | Art. 35, Art. 22 | Gap | No GDPR Data Protection Impact Assessment for AI | HAIG GDPR DPIA Template.docx |

4.8 US STATE AI  PRIVACY REGULATIONS MAPPING

| Requirement | Article/Clause | Status | Gap Reference | Notes |
| --- | --- | --- | --- | --- |
| GAP-007 | CCPA/CPRA, CA ADMT Regulations | Gap | California CCPA/CPRA Automated Decision-Making Violations | HAIG CCPA Privacy Disclosure Template.docx |
| GAP-008 | Colorado AI Act | Gap | Colorado AI Act Preparation Required for June 2026 | HAIG Colorado AI Act Compliance Checklist.docx |
| GAP-018 | Colorado AI Act | Gap | No AI Bias Assessment or Fairness Evaluation | HAIG AI Bias Assessment Checklist.docx |
| GAP-020 | Cal. Civ. Code §1714.46 | Gap | Legal Review Gap for California AI Liability Law | HAIG AI Liability Assessment.docx |
| GAP-021 | CA AB 3030, Colorado AI Act | Gap | No AI System Transparency or Disclosure Framework | HAIG AI Transparency Notice Template.docx |

4.9 AIHCS MAPPING

| Requirement | Article/Clause | Status | Gap Reference | Notes |
| --- | --- | --- | --- | --- |
| GAP-003 | GC-01, GC-04 | Gap | No Human Oversight Framework for Clinical AI | HAIG Human Oversight Procedure.docx |
| GAP-022 | GC-01, GC-02, GC-03, GC-04, GC-05, GC-06, GC-07, GC-08, GC-09, GC-10 | Gap | Complete Absence of AIHCS Human-AI Interaction Controls | User TAIGA Metric_ GC01-10 (Governance Controls).docx |

5. APPENDIX

5.1 DOCUMENTS REVIEWED

• Intake questionnaire responses

• Triage round 1 responses

• Triage round 2 responses

• Triage round 3 responses

• Triage round 4 responses

5.2 STAKEHOLDERS CONSULTED

• Jesse Hart, Hart AI Governance

• Assessment conducted via TAIGA platform | The Leash

5.3 ASSESSMENT METHODOLOGY

This assessment was conducted using HAIG's AI-accelerated compliance methodology, which combines 27 years of regulatory compliance experience with structured AI workflows to deliver comprehensive gap analysis in minutes and not days or weeks..

5.4 LIMITATIONS

This assessment is based on documentation and information provided by the client as of the assessment date. It does not constitute legal advice. Regulatory requirements may change over time.